## Person 1
Time | Radar S1 | Radar S2 | PCG S1 | PCG S2 | Pulse | ECG | Breathing | Quality Radar Signal | Quality PCG Signal | Overall Signal Quality | Measurement Position |  | Scenario
2016-12-20_11-25-55 | A | B | A | B | C | A | C | B | B | B | PCG_front_radar_front | Radar 2L PCG 4L
2016-12-20_11-30-47 | A | B | A | C | C | A | A | B | C | C | PCG_front_radar_front | Radar 2L PCG 4L
2016-12-20_11-36-19 | A | B | A | A | C | A | C | B | A | B | PCG_front_radar_front | Radar 2L PCG 4L
2016-12-20_11-46-09 | A | B | A | A | C | A | C | B | A | B | PCG_front_radar_front | Radar 2L PCG 4L
2016-12-20_11-49-00 | A | B | A | A | C | A | C | B | A | B | PCG_front_radar_front | Radar 2L PCG 4L
2016-12-20_11-55-32 | A | A | A | A | C | A | C | A | A | A | PCG_front_radar_front | Radar 2L PCG 4L
2016-12-20_11-59-04 | A | A | A | B | C | A | C | A | B | B | PCG_front_radar_front | Radar 2L PCG 4L
2016-12-20_12-01-25 | A | A | C | C | C | A | C | A | C | C | PCG_front_radar_front | Radar 2L PCG 4L
2016-12-20_12-03-18 | A | A | C | C | C | A | C | A | C | C | PCG_front_radar_front | Radar 2L PCG 4L
2016-12-20_12-05-27 | A | A | A | A | C | B | C | A | A | A | PCG_front_radar_front | Radar 2L PCG 4L
2016-12-20_12-07-18 | A | A | A | A | C | B | C | A | A | A | PCG_front_radar_front | Radar 2L PCG 4L
2016-12-20_12-09-43 | A | A | A | A | B | A | C | A | A | A | PCG_front_radar_front | Radar 2L PCG 4L
2016-12-20_12-14-12 | A | A | A | A | C | B | C | A | A | A | PCG_front_radar_front | Radar 4L PCG 2L
2016-12-20_12-18-32 | A | A | A | A | C | B | B | A | A | A | PCG_front_radar_front | Radar 4L PCG 2L
2016-12-20_12-22-46 | A | A | A | A | C | A | A | A | A | A | PCG_front_radar_front | Radar 4L PCG 2L
2016-12-20_12-25-17 | B | B | A | A | C | A | C | B | A | B | PCG_front_radar_front | Radar 4L PCG 2L
2016-12-20_13-39-55 | A | A | A | A | C | A | A | A | A | A | PCG_front_radar_front | Radar 4L PCG 2L
2016-12-20_13-43-03 | B | B | B | B | C | B | A | B | B | B | PCG_front_radar_front | Radar 4L PCG 2L
2016-12-20_13-44-24 | A | A | B | B | C | A | B | A | B | B | PCG_front_radar_front | Radar 4L PCG 2L
2016-12-20_13-47-09 | A | B | B | C | C | B | B | B | C | C | PCG_front_radar_front | Radar 4L PCG 2L
2016-12-20_13-49-09 | A | A | C | C | C | A | B | A | C | C | PCG_front_radar_front | Radar 4L PCG 2L
2016-12-20_13-52-11 | A | B | A | B | C | B | B | B | B | B | PCG_front_radar_front | Radar 4L PCG 2L
2016-12-20_13-55-07 | A | A | A | A | C | A | B | A | A | A | PCG_front_radar_front | Radar 4L PCG 2L
2016-12-20_14-00-47 | A | A | A | A | C | B | C | A | A | A | PCG_front_radar_front | Radar 4L PCG 2L | apnea_after_sport
2016-12-20_14-05-02 | A | B | A | B | C | B | A | B | B | B | PCG_front_radar_front | Radar 4L PCG 2L | apnea_after_sport
2016-12-20_14-12-25 | A | B | A | A | C | B | A | B | A | B | PCG_front_radar_front | Radar 4L PCG 2L | apnea_after_sport
2016-12-20_14-18-36 | C | B | A | A | C | A | A | C | A | C | PCG_neck_radar_neck | PCG carotid L radar carotid R | apnea
2016-12-20_14-23-53 | C | C | A | A | B | A | A | C | A | C | PCG_neck_radar_neck | PCG carotid L radar carotid R | apnea
2016-12-20_14-28-02 | C | B | A | A | B | A | C | C | A | C | PCG_neck_radar_neck | PCG carotid L radar carotid R | apnea
2016-12-20_14-36-52 | A | B | A | A | C | B | A | B | A | B | PCG_neck_radar_front | PCG carotid L radar 2L | apnea_after_sport
2016-12-20_14-44-53 | B | C | A | B | C | A | A | C | B | C | PCG_front_radar_back | PCG 4L radar back | apnea_after_sport

## Person 2
Time | Radar S1 | Radar S2 | PCG S1 | PCG S2 | Pulse | ECG | Breathing | Quality Radar Signal | Quality PCG Signal | Overall Signal Quality | Measurement Position |  | Scenario
2016-12-21_10-13-18 | A | A | A | B | C | A | C | A | B | B | PCG_front_radar_front | Radar Xiphoid PCG 4L
2016-12-21_10-16-43 | A | A | A | A | A | B | C | A | A | A | PCG_front_radar_front | Radar Xiphoid PCG 4L
2016-12-21_10-21-20 | A | A | A | A | C | A | C | A | A | A | PCG_front_radar_front | Radar Xiphoid PCG 4L
2016-12-21_10-37-37 | A | A | A | A | B | A | C | A | A | A | PCG_front_radar_front | Radar Xiphoid PCG 4L | apnea
2016-12-21_10-43-30 | A | A | A | A | B | A | A | A | A | A | PCG_front_radar_front | Radar Xiphoid PCG 4L | apnea
2016-12-21_10-48-50 | A | A | A | A | C | B | C | A | A | A | PCG_front_radar_front | Radar Xiphoid PCG 4L | apnea_after_sport
2016-12-21_10-55-01 | A | A | A | A | B | A | C | A | A | A | PCG_front_radar_front | Radar 2L PCG Xiphoid | apnea
2016-12-21_11-15-34 | B | A | A | A | C | A | C | B | A | B | PCG_front_radar_front | Radar 2L PCG 4L | apnea | exhaled
2016-12-21_11-24-32 | B | A | C | A | A | A | C | B | C | C | PCG_neck_radar_neck | PCG carotid L radar carotid R
2016-12-21_11-29-38 | C | B | C | B | A | A | C | C | C | C | PCG_neck_radar_neck | PCG carotid L radar carotid R
2016-12-21_11-53-23 | A | A | A | A | C | B | A | A | A | A | PCG_front_radar_front | Radar 2L PCG 4L | after_sport
2016-12-21_11-59-37 | B | B | A | A | C | B | B | B | A | B | PCG_front_radar_front | Radar 2L PCG 4L | apnea_after_sport
2016-12-21_12-07-06 | A | A | A | A | C | A | C | A | A | A | PCG_front_radar_front | Radar 4L PCG 2L | after_sport
2017-02-17_09-53-27 | A | A | A | A | A | A | C | A | A | A | PCG_front_radar_front | Radar 2L PCG 4L | lying
2017-02-17_10-02-33 | A | A | A | A | C | A | C | A | A | A | PCG_front_radar_front | Radar 2L PCG 4L | lying
2017-02-17_10-07-23 | B | A | A | B | C | A | A | B | B | B | PCG_front_radar_front | Radar 2L PCG 4L | lying
2017-02-17_10-10-52 | A | A | A | A | C | A | A | A | A | A | PCG_front_radar_front | Radar 2L PCG 4L | lying
2017-02-27_09-55-24 | A | A | A | A | B | A | C | A | A | A | PCG_front_radar_front | Radar 2L PCG 4L
2017-02-27_10-04-44 | A | A | A | A | A | A | A | A | A | A | PCG_front_radar_front | Radar 2L PCG 4L
2017-02-27_10-06-53 | A | A | A | A | A | A | A | A | A | A | PCG_front_radar_front | Radar 2L PCG 4L
2017-02-27_10-08-59 | A | A | A | A | A | A | C | A | A | A | PCG_front_radar_front | Radar 2L PCG 4L
2017-02-27_10-10-49 | A | B | A | A | C | A | C | B | A | B | PCG_front_radar_front | Radar 2L PCG 4L
2017-02-27_10-13-10 | A | A | A | A | A | A | C | A | A | A | PCG_front_radar_front | Radar 2L PCG 4L | apnea | inhaled
2017-02-27_10-15-48 | A | A | A | A | A | A | C | A | A | A | PCG_front_radar_front | Radar 2L PCG 4L | apnea | exhaled
2017-02-27_10-18-52 | A | A | A | A | C | A | A | A | A | A | PCG_front_radar_front | Radar 2L PCG 4L | angle_variation | 30_degree_right
2017-02-27_10-20-39 | A | A | A | A | B | A | C | A | A | A | PCG_front_radar_front | Radar 2L PCG 4L | angle_variation | 30_degree_left
2017-02-27_10-23-58 | A | A | A | A | C | A | C | A | A | A | PCG_front_radar_front | Radar 2L PCG 4L | artefact_movement
2017-02-27_10-28-36 | A | A | C | C | C | A | A | A | C | C | PCG_front_radar_front | Radar 2L PCG 2R
2017-02-27_10-31-18 | A | A | A | A | B | B | A | A | A | A | PCG_front_radar_front | Radar 2R PCG 2L
2017-02-27_10-33-30 | C | C | A | A | C | A | A | C | A | C | PCG_front_radar_front | Radar 2R PCG 2L
2017-02-27_10-36-48 | A | A | A | A | A | A | B | A | A | A | PCG_front_radar_front | Radar 4L PCG 2L
2017-02-27_10-38-25 | A | A | A | A | A | A | B | A | A | A | PCG_front_radar_front | Radar 4L PCG 2L
2017-02-27_10-40-06 | A | A | A | A | A | A | A | A | A | A | PCG_front_radar_front | Radar 4L PCG 2L
2017-02-27_10-41-45 | A | A | A | A | A | A | B | A | A | A | PCG_front_radar_front | Radar 4L PCG 2L
2017-02-27_10-43-46 | A | B | A | B | C | A | C | B | B | B | PCG_front_radar_front | Radar 4L PCG 2L

## Person 3
Time | Radar S1 | Radar S2 | PCG S1 | PCG S2 | Pulse | ECG | Breathing | Quality Radar Signal | Quality PCG Signal | Overall Signal Quality | Measurement Position |  | Scenario
2017-01-17_17-41-07 | A | A | B | B | C | A | C | A | B | B | PCG_front_radar_front | Radar Xiphoid PCG 2L
2017-01-17_17-48-53 | A | A | A | A | C | A | A | A | A | A | PCG_front_radar_front | Radar 4L PCG 2L
2017-01-17_17-55-53 | A | A | B | B | C | A | A | A | B | B | PCG_front_radar_front | Radar 4L PCG 2L
2017-01-17_17-59-08 | A | A | B | A | C | A | C | A | B | B | PCG_front_radar_front | Radar 4L PCG 2L
2017-01-17_18-04-18 | A | B | B | A | C | B | C | B | B | B | PCG_front_radar_front | Radar 4L PCG 2L
2017-01-17_18-09-55 | A | A | C | C | C | A | B | A | C | C | PCG_front_radar_front | Radar 4L PCG 2L | apnea
2017-01-17_18-14-30 | A | A | C | B | C | A | B | A | C | C | PCG_front_radar_front | Radar 4L PCG 2L | apnea
2017-01-17_18-23-25 | C | C | A | A | C | A | B | C | A | C | PCG_front_radar_front | Radar 2L PCG 4L
2017-01-17_18-27-42 | A | A | A | A | C | A | C | A | A | A | PCG_front_radar_front | Radar 4L PCG 4R | sitting
2017-01-17_18-32-11 | A | A | A | A | C | A | C | A | A | A | PCG_front_radar_front | Radar 4L PCG 4R | sitting
2017-01-17_18-38-06 | A | A | A | A | C | B | C | A | A | A | PCG_front_radar_front | Radar 4L PCG 4R | after_sport
2017-01-17_18-55-44 | A | A | A | A | C | B | C | A | A | A | PCG_front_radar_front | Radar 4L PCG 4R | angle_variation | 30_degree_left
2017-01-17_19-00-08 | A | B | A | A | C | A | C | B | A | B | PCG_front_radar_front | Radar 4L PCG 4R | angle_variation | 30_degree_right
2017-01-17_19-03-06 | A | A | A | A | C | A | C | A | A | A | PCG_front_radar_front | Radar 4L PCG 4R | sitting
2017-01-17_19-09-33 | C | C | A | A | C | B | A | C | A | C | PCG_neck_radar_neck | Radar carotid L PCG carotid R
2017-01-17_19-12-55 | A | A | A | A | C | A | A | A | A | A | PCG_neck_radar_neck | Radar carotid L PCG carotid R
2017-01-17_19-23-43 | A | A | A | A | C | B | C | A | A | A | PCG_front_radar_front | Radar 4L PCG 4R | distance_variation
2017-01-17_19-28-14 | A | A | A | A | C | B | C | A | A | A | PCG_front_radar_front | Radar 4L PCG 4R | distance_variation
2017-01-17_19-33-29 | A | A | A | A | C | B | C | A | A | A | PCG_front_radar_front | Radar 4L PCG 4R | artefact_speech
2017-01-17_19-38-24 | A | A | A | A | C | A | C | A | A | A | PCG_front_radar_front | Radar 4L PCG 4R | standing
2017-01-17_19-43-04 | A | A | A | A | C | B | C | A | A | A | PCG_front_radar_front | Radar 4L PCG 4R | standing

## Person 4
Time | Radar S1 | Radar S2 | PCG S1 | PCG S2 | Pulse | ECG | Breathing | Quality Radar Signal | Quality PCG Signal | Overall Signal Quality | Measurement Position |  | Scenario
2017-01-20_10-41-20 | C | C | A | B | B | B | A | C | B | C | PCG_front_radar_front | PCG 4L Radar Xiphoid
2017-01-20_10-46-38 | C | C | A | B | C | A | A | C | B | C | PCG_front_radar_front | PCG 5L Radar 4L
2017-01-20_10-55-02 | A | B | A | B | C | A | B | B | B | B | PCG_front_radar_front | PCG 4L Radar 4LL | standing
2017-01-20_10-59-22 | B | C | A | B | C | A | B | C | B | C | PCG_front_radar_front | PCG 4L Radar 4LL | standing
2017-01-20_11-07-59 | A | B | B | B | C | A | C | B | B | B | PCG_front_radar_front | PCG 5L Radar 4L | standing
2017-01-20_11-10-53 | A | B | A | B | C | A | B | B | B | B | PCG_front_radar_front | PCG 4L Radar 4LL | standing
2017-01-20_11-16-04 | A | B | A | A | C | A | A | B | A | B | PCG_front_radar_front | PCG 2L Radar 4L | standing
2017-01-20_11-18-52 | A | B | A | A | A | A | A | B | A | B | PCG_front_radar_front | PCG 2L Radar 4L | standing
2017-01-20_11-22-57 | A | C | A | A | C | A | A | C | A | C | PCG_front_radar_front | PCG 2L Radar 4L | standing
2017-01-20_11-25-36 | A | B | A | A | C | A | A | B | A | B | PCG_front_radar_front | PCG 2L Radar 4L | standing
2017-01-20_11-28-15 | A | B | B | C | C | A | B | B | C | C | PCG_front_radar_front | PCG 4L Radar 4LL | standing
2017-01-20_11-31-04 | A | A | C | C | C | A | C | A | C | C | PCG_front_radar_front | PCG 2L Radar 4L | standing
2017-01-20_11-35-29 | A | B | C | C | C | A | C | B | C | C | PCG_front_radar_front | PCG 2L Radar 4L | standing
2017-01-20_11-39-39 | C | C | A | B | C | A | C | C | B | C | PCG_front_radar_back | PCG 4L Radar back
2017-01-20_11-52-43 | B | A | A | A | C | A | A | B | A | B | PCG_neck_radar_neck | PCG carotid L Radar carotid R
2017-01-20_11-55-42 | B | B | A | A | C | A | A | B | A | B | PCG_neck_radar_neck | PCG carotid L Radar carotid R
2017-01-20_12-00-18 | A | A | A | A | C | B | B | A | A | A | PCG_neck_radar_neck | PCG carotid R Radar carotid L

## Person 5
Time | Radar S1 | Radar S2 | PCG S1 | PCG S2 | Pulse | ECG | Breathing | Quality Radar Signal | Quality PCG Signal | Overall Signal Quality | Measurement Position |  | Scenario
2017-02-01_09-43-19 | A | B | A | A | C | A | A | B | A | B | PCG_front_radar_front | PCG 5L Radar Xiphoid
2017-02-01_09-48-25 | A | B | A | B | C | A | A | B | B | B | PCG_front_radar_front | PCG 5L Radar Xiphoid
2017-02-01_10-05-11 | A | A | A | A | C | A | A | A | A | A | PCG_front_radar_front | PCG 5L Radar Xiphoid
2017-02-01_10-08-51 | C | C | A | A | C | A | A | C | A | C | PCG_front_radar_front | PCG 5L Radar Xiphoid
2017-02-01_10-11-48 | C | C | B | B | C | A | A | C | B | C | PCG_front_radar_front | PCG 5L Radar Xiphoid
2017-02-01_10-14-48 | A | A | C | C | B | A | A | A | C | C | PCG_front_radar_front | PCG 5L Radar Xiphoid | apnea
2017-02-01_10-19-46 | B | C | B | B | C | A | A | C | B | C | PCG_front_radar_front | PCG 5L Radar Xiphoid | angle_variation | 30_degree_left | apnea
2017-02-01_10-23-12 | B | C | B | C | C | A | A | C | C | C | PCG_front_radar_front | PCG 5L Radar Xiphoid | angle_variation | 30_degree_right | apnea
2017-02-01_10-26-22 | A | B | A | B | C | A | C | B | B | B | PCG_front_radar_front | PCG 5L Radar Xiphoid | angle_variation | 30_degree_right | apnea
2017-02-01_10-31-16 | A | C | B | B | C | A | A | C | B | C | PCG_front_radar_front | PCG 5L Radar Xiphoid | artefact_speech
2017-02-01_10-36-00 | A | B | B | C | C | A | A | B | C | C | PCG_front_radar_front | PCG 5L Radar Xiphoid | distance_variation | start_at_15cm
2017-02-01_10-41-21 | B | B | B | B | C | A | C | B | B | B | PCG_front_radar_front | PCG 5L Radar Xiphoid | distance_variation | start_at_30cm
2017-02-01_10-50-16 | A | B | A | B | C | A | A | B | B | B | PCG_front_radar_front | PCG 5L Radar Xiphoid | after_sport
2017-02-01_10-52-32 | A | B | A | A | C | A | A | B | A | B | PCG_front_radar_front | PCG 5L Radar Xiphoid | after_sport
2017-02-01_10-57-03 | B | C | A | A | A | A | A | C | A | C | PCG_front_radar_back | PCG 5L Radar back
2017-02-01_11-00-37 | A | C | A | A | B | A | A | C | A | C | PCG_front_radar_back | PCG 5L Radar back | after_sport
2017-02-01_11-09-40 | B | B | C | C | C | A | C | B | C | C | PCG_neck_radar_neck | PCG carotid L Radar carotid R
2017-02-01_11-15-38 | B | C | B | A | C | B | C | C | B | C | PCG_neck_radar_neck | PCG carotid L Radar carotid R
2017-02-01_11-48-22 | C | C | B | B | C | A | A | C | B | C | PCG_front_radar_neck | PCG 5L Radar carotid R
2017-02-01_11-51-19 | A | A | A | A | B | A | A | A | A | A | PCG_front_radar_neck | PCG 5L Radar carotid R

## Person 6
Time | Radar S1 | Radar S2 | PCG S1 | PCG S2 | Pulse | ECG | Breathing | Quality Radar Signal | Quality PCG Signal | Overall Signal Quality | Measurement Position |  | Scenario
2017-02-06_10-54-37 | C | B | A | A | C | B | C | C | A | C | PCG_neck_radar_neck | PCG carotid L Radar carotid R
2017-02-06_10-57-05 | A | A | B | A | C | A | C | A | B | B | PCG_neck_radar_neck | PCG carotid L Radar carotid R
2017-02-06_10-28-30 | C | C | A | B | C | A | A | C | B | C | PCG_front_radar_front | PCG 2L Radar 5L | distance_variation
2017-02-06_10-35-01 | C | C | B | B | C | A | A | C | B | C | PCG_front_radar_front | PCG 2L Radar 5L | distance_variation
2017-02-06_09-01-56 | C | C | A | A | C | A | C | C | A | C | PCG_front_radar_front | PCG 2L Radar 5L
2017-02-06_09-05-11 | C | C | A | A | C | A | A | C | A | C | PCG_front_radar_front | PCG 2L Radar 5L
2017-02-06_09-57-58 | A | B | A | A | C | A | A | B | A | B | PCG_front_radar_front | PCG 2L Radar 5L
2017-02-06_10-17-23 | B | C | A | B | C | A | A | C | B | C | PCG_front_radar_front | PCG 2L Radar 5L | after_sport
2017-02-06_10-21-05 | C | C | A | B | C | A | A | C | B | C | PCG_front_radar_front | PCG 2L Radar 5L | after_sport
2017-02-06_09-44-15 | A | B | A | B | C | A | A | B | B | B | PCG_front_radar_front | PCG 5L Radar 2L | angle_variation | 30_degree_left
2017-02-06_09-47-46 | A | A | A | A | B | A | A | A | A | A | PCG_front_radar_front | PCG 5L Radar 2L | angle_variation | 30_degree_left
2017-02-06_09-41-24 | B | B | A | A | C | A | A | B | A | B | PCG_front_radar_front | PCG 5L Radar 2L | angle_variation | 30_degree_right
2017-02-06_09-10-20 | A | A | A | A | B | B | A | A | A | A | PCG_front_radar_front | PCG 5L Radar 2L
2017-02-06_09-14-32 | A | B | A | A | C | A | A | B | A | B | PCG_front_radar_front | PCG 5L Radar 2L
2017-02-06_09-19-08 | A | A | A | A | C | A | A | A | A | A | PCG_front_radar_front | PCG 5L Radar 2L
2017-02-06_09-23-58 | A | A | A | A | C | A | A | A | A | A | PCG_front_radar_front | PCG 5L Radar 2L
2017-02-06_09-27-58 | A | A | A | A | C | A | A | A | A | A | PCG_front_radar_front | PCG 5L Radar 2L | apnea
2017-02-06_09-35-35 | A | A | A | A | C | A | A | A | A | A | PCG_front_radar_front | PCG 5L Radar 2L | apnea
2017-02-06_10-01-44 | C | C | A | A | C | B | A | C | A | C | PCG_front_radar_front | PCG 5L Radar 5L
2017-02-06_10-48-48 | B | B | A | A | C | A | A | B | A | B | PCG_front_radar_back | PCG 2L Radar back | after_sport

## Person 7
Time | Radar S1 | Radar S2 | PCG S1 | PCG S2 | Pulse | ECG | Breathing | Quality Radar Signal | Quality PCG Signal | Overall Signal Quality | Measurement Position |  | Scenario
2017-02-08_10-12-00 | A | A | C | A | B | A | A | A | C | C | PCG_neck_radar_neck | PCG carotid L Radar carotid R
2017-02-08_10-15-28 | A | A | B | A | B | A | A | A | B | B | PCG_neck_radar_neck | PCG carotid L Radar carotid R
2017-02-08_10-18-47 | A | A | A | A | C | A | A | A | A | A | PCG_neck_radar_neck | PCG carotid R Radar carotid L
2017-02-08_10-21-44 | A | A | C | A | A | A | A | A | C | C | PCG_neck_radar_neck | PCG carotid R Radar carotid L
2017-02-08_10-24-21 | A | A | C | C | A | A | A | A | C | C | PCG_neck_radar_neck | PCG carotid R Radar carotid L
2017-02-08_09-19-48 | A | A | A | A | B | A | A | A | A | A | PCG_front_radar_front | PCG 5L Radar 2L
2017-02-08_09-34-20 | A | A | C | C | C | A | C | A | C | C | PCG_front_radar_front | PCG 5L Radar 4L | distance_variation
2017-02-08_09-39-49 | A | A | B | B | C | A | A | A | B | B | PCG_front_radar_front | PCG 5L Radar 4L | distance_variation
2017-02-08_10-28-09 | B | A | A | B | C | A | C | B | B | B | PCG_front_radar_front | PCG 5L Radar 4L | standing
2017-02-08_10-31-32 | A | A | A | A | C | A | C | A | A | A | PCG_front_radar_front | PCG 5L Radar 4L | standing
2017-02-08_09-17-07 | B | B | A | B | C | A | A | B | B | B | PCG_front_radar_front | PCG 5L Radar 4L | artefact_speech
2017-02-08_09-10-12 | A | A | A | A | B | A | A | A | A | A | PCG_front_radar_front | PCG 5L Radar 4L | apnea
2017-02-08_09-13-27 | A | A | A | A | A | A | A | A | A | A | PCG_front_radar_front | PCG 5L Radar 4L | apnea
2017-02-08_09-22-36 | B | C | A | A | C | A | A | C | A | C | PCG_front_radar_front | PCG 5L Radar 4L | angle_variation | 30_degree_left
2017-02-08_09-29-46 | A | A | A | A | A | A | A | A | A | A | PCG_front_radar_front | PCG 5L Radar 4L | angle_variation | 30_degree_right
2017-02-08_09-04-15 | A | A | A | A | A | A | A | A | A | A | PCG_front_radar_front | PCG 5L Radar 4L
2017-02-08_09-07-15 | A | A | A | A | B | A | A | A | A | A | PCG_front_radar_front | PCG 5L Radar 4L
2017-02-08_10-07-34 | A | A | A | A | A | A | A | A | A | A | PCG_front_radar_front | PCG 5L Radar 4L
2017-02-08_10-09-12 | A | A | A | A | A | A | A | A | A | A | PCG_front_radar_front | PCG 5L Radar 4L
2017-02-08_09-45-26 | B | B | A | A | B | A | A | B | A | B | PCG_front_radar_front | PCG 5L Radar 4L | after_sport
2017-02-08_09-48-50 | A | A | A | A | A | A | A | A | A | A | PCG_front_radar_front | PCG 5L Radar 4L | after_sport
2017-02-08_08-58-07 | A | A | A | A | C | A | C | A | A | A | PCG_front_radar_front | PCG 5L Radar Xiphoid
2017-02-08_09-01-07 | B | B | A | A | C | A | C | B | A | B | PCG_front_radar_front | PCG 5L Radar Xiphoid
2017-02-08_09-58-01 | B | A | A | A | C | A | A | B | A | B | PCG_front_radar_back | PCG 4L Radar back
2017-02-08_10-01-20 | A | A | A | A | C | A | A | A | A | A | PCG_front_radar_back | PCG 4L Radar back | after_sport
2017-02-27_11-14-35 | B | A | C | A | B | B | A | B | C | C | PCG_front_radar_front | PCG 2R Radar 2L
2017-02-27_11-51-49 | B | A | C | A | A | B | A | B | C | C | PCG_front_radar_front | PCG 2L Radar 2R
2017-02-27_11-56-35 | B | A | C | A | A | B | A | B | C | C | PCG_front_radar_front | PCG 2L Radar 2R
2017-02-27_11-59-16 | B | A | B | A | A | B | A | B | B | B | PCG_front_radar_front | PCG 2L Radar 2R
2017-02-27_12-02-11 | C | C | A | A | C | B | C | C | A | C | PCG_front_radar_front | PCG 5L Radar 4L
2017-02-27_12-09-10 | B | A | C | A | A | B | C | B | C | C | PCG_front_radar_front | PCG 2L Radar 2L
2017-02-27_12-12-16 | B | A | C | C | B | B | A | B | C | C | PCG_front_radar_front | PCG 2L Radar 2L
2017-02-27_12-15-30 | C | A | C | A | A | B | A | C | C | C | PCG_front_radar_front | PCG 2L Radar 4L
2017-02-27_12-19-07 | A | A | A | A | A | B | A | A | A | A | PCG_front_radar_front | PCG 5L Radar 4L
2017-02-27_12-21-02 | A | A | B | B | A | B | B | A | B | B | PCG_front_radar_front | PCG 5L Radar 4L
2017-02-27_12-23-01 | A | A | C | B | A | B | A | A | C | C | PCG_front_radar_front | PCG 5L Radar 4L
2017-02-27_12-30-30 | B | B | C | C | C | B | C | B | C | C | PCG_back_radar_back
2017-02-27_12-42-14 | B | B | B | C | C | B | A | B | C | C | PCG_front_radar_front | PCG 5L Radar 4L | artefact_movement
2017-02-27_12-48-11 | B | A | B | A | C | B | B | B | B | B | PCG_front_radar_front | PCG 5L Radar 4L | artefact_movement

## Person 8
Time | Radar S1 | Radar S2 | PCG S1 | PCG S2 | Pulse | ECG | Breathing | Quality Radar Signal | Quality PCG Signal | Overall Signal Quality | Measurement Position |  | Scenario
2017-02-10_10-00-49 | A | A | A | A | A | A | A | A | A | A | PCG_neck_radar_neck | PCG carotid L Radar carotid R
2017-02-10_10-03-30 | A | A | A | A | A | A | A | A | A | A | PCG_neck_radar_neck | PCG carotid L Radar carotid R
2017-02-10_10-06-46 | A | A | C | A | A | A | A | C | A | C | PCG_neck_radar_neck | PCG carotid R Radar carotid L
2017-02-10_09-45-28 | C | C | A | B | C | A | A | C | C | C | PCG_front_radar_front | PCG 2L Radar 4L | distance_variation
2017-02-10_09-49-27 | B | B | A | A | B | A | A | B | B | B | PCG_front_radar_front | PCG 2L Radar 4L | standing
2017-02-10_09-52-36 | B | B | A | A | A | A | A | B | A | B | PCG_front_radar_front | PCG 2L Radar 4L | standing
2017-02-10_09-32-09 | A | A | A | A | A | A | A | A | A | A | PCG_front_radar_front | PCG 2L Radar 4L |  |  | 50/100 Hz Notch needed
2017-02-10_09-14-02 | A | A | B | A | A | A | A | B | A | B | PCG_front_radar_front | PCG 2R Radar 2L
2017-02-10_09-22-17 | A | A | A | A | C | A | A | A | C | C | PCG_front_radar_front | PCG 2R Radar 4L | angle_variation | 30_degree_left
2017-02-10_09-25-26 | B | B | B | A | C | A | A | B | C | C | PCG_front_radar_front | PCG 2R Radar 4L | angle_variation | 30_degree_right
2017-02-10_09-28-04 | A | A | B | A | C | A | A | B | C | C | PCG_front_radar_front | PCG 2R Radar 4L | angle_variation | 30_degree_right
2017-02-10_09-18-32 | A | B | B | A | A | A | A | B | A | B | PCG_front_radar_front | PCG 2R Radar 4L
2017-02-10_09-00-14 | A | A | A | A | A | A | C | A | A | A | PCG_front_radar_front | PCG 4L Radar Xiphoid | apnea
2017-02-10_09-06-34 | A | A | A | A | B | A | A | A | B | B | PCG_front_radar_front | PCG 4L Radar Xiphoid | apnea
2017-02-10_09-09-18 | B | B | B | B | B | A | A | B | B | B | PCG_front_radar_front | PCG 4L Radar Xiphoid | apnea
2017-02-10_08-51-11 | B | A | A | A | A | A | A | A | A | A | PCG_front_radar_front | PCG 4L Radar Xiphoid
2017-02-10_08-56-20 | A | A | B | B | C | A | A | B | C | C | PCG_front_radar_front | PCG 4L Radar Xiphoid
2017-02-10_09-02-41 | B | A | A | B | C | A | A | A | C | C | PCG_front_radar_front | PCG 4L Radar Xiphoid
2017-02-10_09-04-54 | B | A | A | A | C | A | A | A | C | C | PCG_front_radar_front | PCG 4L Radar Xiphoid

## Person 9
Time | Radar S1 | Radar S2 | PCG S1 | PCG S2 | Pulse | ECG | Breathing | Quality Radar Signal | Quality PCG Signal | Overall Signal Quality | Measurement Position |  | Scenario
2017-02-13_10-39-05 | B | A | B | A | C | A | C | B | C | C | PCG_neck_radar_neck | PCG carotid L Radar carotid R
2017-02-13_10-41-22 | A | A | B | A | B | A | C | B | B | B | PCG_neck_radar_neck | PCG carotid L Radar carotid R
2017-02-13_10-43-37 | B | A | B | A | A | A | C | B | A | B | PCG_neck_radar_neck | PCG carotid R Radar carotid L
2017-02-13_09-12-49 | A | A | A | A | A | A | A | A | A | A | PCG_front_radar_front | PCG 2L Radar 4L
2017-02-13_09-15-35 | B | C | A | A | B | A | A | C | B | C | PCG_front_radar_front | PCG 2L Radar 4L
2017-02-13_09-31-52 | C | C | A | A | A | A | A | C | A | C | PCG_front_radar_front | PCG 2L Radar 5L
2017-02-13_10-17-08 | A | A | A | A | C | A | A | A | C | C | PCG_front_radar_front | PCG 4L Radar 2L | standing
2017-02-13_10-20-00 | C | C | A | A | C | A | A | C | C | C | PCG_front_radar_front | PCG 4L Radar 2L | standing
2017-02-13_10-22-39 | B | B | B | B | C | A | A | B | C | C | PCG_front_radar_front | PCG 4L Radar 2L | standing
2017-02-13_09-47-05 | B | B | A | A | C | B | B | B | C | C | PCG_front_radar_front | PCG 4L Radar 2L | artefact_speech
2017-02-13_09-50-08 | A | A | A | A | C | A | B | A | C | C | PCG_front_radar_front | PCG 4L Radar 2L | artefact_speech
2017-02-13_09-58-49 | A | A | A | A | C | A | A | A | C | C | PCG_front_radar_front | PCG 4L Radar 2L | apnea | exhaled
2017-02-13_09-55-46 | A | A | A | A | C | A | A | A | C | C | PCG_front_radar_front | PCG 4L Radar 2L | apnea | inhaled
2017-02-13_09-35-16 | A | A | A | A | B | A | A | A | B | B | PCG_front_radar_front | PCG 4L Radar 2L | angle_variation | 30_degree_left
2017-02-13_09-37-35 | A | A | A | A | C | A | A | A | C | C | PCG_front_radar_front | PCG 4L Radar 2L | angle_variation | 30_degree_left
2017-02-13_09-44-00 | A | A | A | A | C | A | A | A | C | C | PCG_front_radar_front | PCG 4L Radar 2L | angle_variation | 30_degree_right
2017-02-13_09-17-47 | A | A | A | A | B | A | A | A | B | B | PCG_front_radar_front | PCG 4L Radar 2L
2017-02-13_09-20-17 | A | A | A | A | A | A | A | A | A | A | PCG_front_radar_front | PCG 4L Radar 2L
2017-02-13_09-23-17 | A | A | A | A | A | A | A | A | A | A | PCG_front_radar_front | PCG 4L Radar 2L
2017-02-13_09-25-36 | A | B | A | A | B | A | A | B | B | B | PCG_front_radar_front | PCG 4L Radar 2L
2017-02-13_09-53-10 | A | A | A | A | C | A | A | A | C | C | PCG_front_radar_front | PCG 4L Radar 2L
2017-02-13_10-00-42 | A | A | A | A | B | A | A | A | B | B | PCG_front_radar_front | PCG 4L Radar 2L
2017-02-13_10-26-46 | A | A | A | A | C | A | C | A | C | C | PCG_front_radar_front | PCG 4L Radar 2L | after_sport
2017-02-13_10-31-55 | C | C | A | A | C | A | C | C | C | C | PCG_front_radar_front | PCG 4L Radar 2L | after_sport
2017-02-13_09-29-31 | A | B | A | A | A | A | A | B | A | B | PCG_front_radar_front | PCG 4L Radar Xiphoid
2017-02-13_10-35-49 | A | B | A | A | A | A | C | B | A | B | PCG_front_radar_back | PCG 4L Radar back
2017-02-13_10-12-04 | C | C | A | A | C | A | A | C | C | C | PCG_front_radar_front | PCG 4L Radar 2L | artefact_movement

## Person 10
Time | Radar S1 | Radar S2 | PCG S1 | PCG S2 | Pulse | ECG | Breathing | Quality Radar Signal | Quality PCG Signal | Overall Signal Quality | Measurement Position |  | Scenario
2017-02-16_10-14-56 | A | A | B | A | A | A | A | A | B | B | PCG_neck_radar_neck | PCG carotid L Radar carotid R
2017-02-16_10-19-44 | A | A | B | A | A | A | A | A | B | B | PCG_neck_radar_neck | PCG carotid R Radar carotid L
2017-02-16_09-13-16 | A | B | A | A | A | A | A | B | A | B | PCG_front_radar_front | PCG 2L Radar 5L
2017-02-16_09-16-25 | C | C | A | A | B | A | A | C | A | C | PCG_front_radar_front | PCG 2L Radar 5L
2017-02-16_09-43-26 | B | B | A | A | C | A | A | B | A | B | PCG_front_radar_front | PCG 2LL Radar 2L | distance_variation
2017-02-16_09-46-40 | A | A | A | A | C | A | A | A | A | A | PCG_front_radar_front | PCG 2LL Radar 2L | distance_variation
2017-02-16_09-53-17 | A | A | A | A | B | A | A | A | A | A | PCG_front_radar_front | PCG 2LL Radar 2L | after_sport
2017-02-16_10-07-43 | A | B | A | A | C | A | A | B | A | B | PCG_front_radar_front | PCG 2LL Radar 2L | standing
2017-02-16_10-10-06 | B | B | A | A | C | A | A | B | A | B | PCG_front_radar_front | PCG 2LL Radar 2L | standing
2017-02-16_09-31-56 | A | A | A | A | C | A | B | A | A | A | PCG_front_radar_front | PCG 2LL Radar 2L | artefact_speech
2017-02-16_09-26-27 | A | A | A | A | A | A | A | A | A | A | PCG_front_radar_front | PCG 2LL Radar 2L | apnea | exhaled
2017-02-16_09-24-14 | A | A | A | A | A | A | A | A | A | A | PCG_front_radar_front | PCG 2LL Radar 2L | apnea | inhaled
2017-02-16_09-34-37 | A | A | A | A | A | A | A | A | A | A | PCG_front_radar_front | PCG 2LL Radar 2L | angle_variation | 30_degree_left
2017-02-16_09-38-46 | A | A | A | A | A | A | A | A | A | A | PCG_front_radar_front | PCG 2LL Radar 2L | angle_variation | 30_degree_left
2017-02-16_09-40-56 | A | A | A | A | A | A | B | A | A | A | PCG_front_radar_front | PCG 2LL Radar 2L | angle_variation | 30_degree_right
2017-02-16_09-19-26 | A | A | A | A | A | A | A | A | A | A | PCG_front_radar_front | PCG 2LL Radar 2L
2017-02-16_09-21-35 | A | A | A | A | A | A | A | A | A | A | PCG_front_radar_front | PCG 2LL Radar 2L
2017-02-16_09-29-20 | A | A | A | A | A | A | A | A | A | A | PCG_front_radar_front | PCG 2LL Radar 2L
2017-02-16_09-04-48 | A | A | A | A | A | A | A | A | A | A | PCG_front_radar_front | PCG 5L Radar 2L
2017-02-16_09-09-19 | A | A | A | A | A | A | A | A | A | A | PCG_front_radar_front | PCG 5L Radar 2L
2017-02-16_09-57-58 | A | A | A | A | C | A | C | A | A | A | PCG_front_radar_back | PCG 2LL Radar back
2017-02-16_10-04-04 | A | A | A | A | C | A | C | A | A | A | PCG_front_radar_back | PCG 2LL Radar back | after_sport

## Person 11
Time | Radar S1 | Radar S2 | PCG S1 | PCG S2 | Pulse | ECG | Breathing | Quality Radar Signal | Quality PCG Signal | Overall Signal Quality | Measurement Position |  | Scenario
2017-02-16_11-37-59 | A | A | A | A | B | A | A | A | A | A | PCG_neck_radar_neck | PCG carotid R Radar carotid L
2017-02-16_11-42-13 | A | A | A | A | C | A | A | A | A | A | PCG_neck_radar_neck | PCG carotid R Radar carotid L
2017-02-16_11-30-21 | A | B | A | A | C | A | A | B | A | B | PCG_front_radar_front | PCG 2L Radar 4L | distance_variation
2017-02-16_11-50-00 | A | A | B | B | B | A | A | A | B | B | PCG_front_radar_front | PCG 2L Radar 4L | after_sport
2017-02-16_11-46-41 | A | A | A | A | C | A | A | A | A | A | PCG_front_radar_front | PCG 2L Radar 4L | standing
2017-02-16_11-05-06 | A | A | A | A | B | A | A | A | A | A | PCG_front_radar_front | PCG 2L Radar 4L | apnea | exhaled
2017-02-16_10-56-05 | A | A | A | A | A | A | A | A | A | A | PCG_front_radar_front | PCG 2L Radar 4L | apnea | inhaled
2017-02-16_11-16-21 | A | C | A | A | C | A | A | C | A | C | PCG_front_radar_front | PCG 2L Radar 4L | angle_variation | 30_degree_left
2017-02-16_11-20-16 | C | C | B | B | C | A | A | C | B | C | PCG_front_radar_front | PCG 2L Radar 4L | angle_variation | 30_degree_left
2017-02-16_11-26-02 | C | C | A | A | C | A | A | C | A | C | PCG_front_radar_front | PCG 2L Radar 4L | angle_variation | 30_degree_right
2017-02-16_10-53-42 | A | A | A | A | A | A | A | A | A | A | PCG_front_radar_front | PCG 2L Radar 4L
2017-02-16_11-02-10 | A | B | A | A | B | A | A | B | A | B | PCG_front_radar_front | PCG 2L Radar 4L
2017-02-16_10-50-44 | A | A | A | A | A | A | A | A | A | A | PCG_front_radar_front | PCG 2L Radar Xiphoid
2017-02-16_11-53-10 | B | B | B | B | A | A | A | B | B | B | PCG_front_radar_back | PCG 2L Radar back | after_sport